# Functional Requirements — AI-Based Lung Opacity Detection System

Standard: IEC 62304:2006 + AMD1:2015 
Name: Bhavya Raghunatha Reddy 
Course: INFO7410 — Advanced Medical Device Software Engineering 
Institution: Northeastern University 
Version: 1.2

FR-01 — Image Input 
The system shall accept chest X-ray images in PNG and JPG formats only.

FR-02 — Binary Classification 
The system shall classify each accepted chest X-ray image as either Normal or Abnormal and return the classification result.

FR-03 — Disease Classification 
The system shall classify each image identified as Abnormal into one of the following disease categories: COVID-19, Lung Opacity, or Viral Pneumonia.

FR-04 — Disease Probability Scores 
The system shall provide a probability score for each disease category defined in FR-03, such that the sum of all probability scores equals 100%.

FR-05 — Opacity Detection 
The system shall identify the presence of opacity regions in each input image.

FR-06 — Lung Laterality Determination 
The system shall determine whether detected opacity is located in the left lung, right lung, or both lungs.

FR-07 — Affected Area Calculation 
The system shall calculate the percentage of lung tissue affected by opacity as a value between 0 and 100.

FR-08 — Severity Classification 
The system shall classify the severity of the detected condition as Mild, Moderate, or Severe based on the affected area percentage, and upgrade Mild severity to Moderate when opacity is present in both lungs.

FR-09 — Clinical Recommendation 
The system shall generate a clinical recommendation based on the severity classification, including a priority level and review timeline.

FR-10 — Analysis Output 
The system shall return the results of all analysis levels to the user.